## 2nd QR - Bamboo 6
PROJECT PROCUREMENT MANAGEMENT PLAN (PPMP) 2024
For 2nd Quarter of CY 2024
END-USER/UNIT: RDD-NFUS
Charged to: Textile Fibers from Philippine Climbing Bamboo Species
Projects, Programs and Activities (PAPs)
CODE | GENERAL DESCRIPTION | QUANTITY/ | UNIT PRICE | ESTIMATED BUDGET | Mode of Procurement | DELIVERY TERM | SCHEDULE/MILESTONE OF ACTIVITIES
|  | SIZE |  |  |  |  | Apr | May | Jun | PR No. | RFQ No. | PhilGEPS Reference No. | AOC No. | PO No. | COA Received Date | NTP No. | IAR No. | ICS/PAR No. | RIS/RSMI No. | REMARKS | REMARKS
LABORATORY SUPPLIES
| Reagent bottle - 100 mL - made of glass | 20 pieces | 500 | 10000 | Shopping |  | 20
| Analytical Balance Specifications: - Readability: 0.1 mg/0.0001 g - Working Temp.: <=15 °C - >= 35 °C - Dimensions: 300 x 200 x 295 mm or within 20% of the total area - Pan size: <= 80mm diameter - Max Capacity: <= 220 g - Repeatability: <= +/- 0.0002 grams - Linearity error: <= +/- 0.0003 grams - Stability Time: <= 3 seconds - Calibration Mode: Internal calibration - Material: Stainless steel pan, glass windshield - Voltage: 220 V | 1 unit | 40000 | 40000 | Shopping |  | 1
| Hot Plate with Magnetic Stirring Specifications: 280 mm x 280 mm or equivalent or better 200 - 1500 C temperature range, 1 increment or equivalent or better 100 - 1500 rpm speed or equivalent or better Ceramic Plate | 3 units | 40000 | 120000 | Small Value Procurement |  | 3
| Digital laboratory thermometer, temp. range from 0 to 300°C or wider range | 2 pieces | 4500 | 9000 | Shopping |  | 1
| Blue container for distilled/deionized water, 5 gallons capacity with faucet and lid | 2 pieces | 500 | 1000 | Shopping |  | 2
| Rubber aspirator, for suction | 3 pieces | 200 | 600 | Shopping |  | 3
| Pipette tips, 5 mL, 100pcs/pack | 1 pack | 2000 | 2000 | Shopping |  | 1
| Latex hose/tubing, 6 mm inner diameter | 5 meters | 200 | 1000 | Shopping |  | 5
| Glass extraction thimble, to be placed inside Soxhlet extractor, height: 10 mm | 5 pieces | 4000 | 20000 | Shopping |  | 5
| Sodium hypochlorite solution, 3600 mL or 1 gallon | 2 bottles | 300 | 600 | Shopping |  | 2
| Sodium chlorite NaClO2, purity of 80% or higher or equivalent, min. of 100g | 2 bottles | 15000 | 30000 | Shopping |  | 2
| Sodium hydroxide NaOH, micropearls/pellets | 15 bottles | 2500 | 37500 | Shopping |  | 15
| Sodium hydroxide NaOH, 48-50% concentration 30kg per/carboy (CMU delivery) | 20 carboys | 3500 | 70000 | Small Value Procurement |  | 20
| Glacial Acetic Acid CH3COOH, >99% concentration 30kg per/carboy (CMU delivery) | 10 carboys | 5000 | 50000 | Small Value Procurement |  | 10
| Hydrogen Peroxide (H2O2), 50% or equivalent or better, Volume: 30 kg | 10 carboys | 25000 | 250000 | Negotiated Procurement |  | 10
| Glacial Acetic Acid (CH3COOH), Concentration: 99.85% or equivalent or better Volume: 30-40 L/carboy (PTRI Delivery) | 10 carboys | 10000 | 100000 | Negotiated Procurement |  | 10
| Rectangular storage box 120 liters or equivalent (CMU delivery) | 5 pieces | 2500 | 12500 | Shopping |  | 5
| Rectangular storage box 58 liters or equivalent (CMU delivery) | 5 pieces | 1500 | 7500 | Shopping |  | 5
| Heavy duty plastic drum 200 liters or equivalent (CMU delivery) | 3 pieces | 3000 | 9000 | Shopping |  | 3
| PE Bag (Polyethylene) 40x60 inches or equivalent (CMU delivery) | 5 pieces | 2000 | 10000 | Shopping |  | 5
| Industrial plastic wrap Clear, 20" x 500 m (3.5 kg) or equivalent (CMU delivery) | 3 pieces | 2000 | 6000 | Shopping |  | 3
| Industrial electronic weighing scale 100-300 kg capacity or equivalent (CMU delivery) | 1 piece | 10000 | 10000 | Shopping |  | 1
| Laboratory jugs clear, 2 liters or equivalent (CMU delivery) | 2 pieces | 1500 | 3000 | Shopping |  | 2
| Beaker 1 liter or equivalent (CMU delivery) | 2 pieces | 600 | 1200 | Shopping |  | 2
| Beaker 100 ml or equivalent (CMU delivery) | 5 pieces | 300 | 1500 | Shopping |  | 5
| Graduated cylinder clear, 100 ml or equivalent (CMU delivery) | 1 piece | 500 | 500 | Shopping |  | 1
| Volumetric Flask with Lid, 100 mL | 5 pieces | 1500 | 7500 | Shopping |  | 5
| Volumetric Flask with Lid, 500 mL | 5 pieces | 2000 | 10000 | Shopping |  | 5
| Volumetric Flask with Lid, 1 Liter | 5 pieces | 3000 | 15000 | Shopping |  | 5
| Reagent Glass Bottle, 100 mL | 5 pieces | 1000 | 5000 | Shopping |  | 5
| Reagent Glass Bottle, 500 mL | 5 pieces | 1500 | 7500 | Shopping |  | 5
| Reagent Glass Bottle, 1 Liter | 5 pieces | 2000 | 10000 | Shopping |  | 5
| Magnetic Stirrer (Spin Bar) | 10 pieces | 1000 | 10000 | Shopping |  | 10
| Magnetic Stirrer Stick | 3 pieces | 2000 | 6000 | Shopping |  | 3
| Glass Gooch Crucible with Sintered Disc, >= 50mL capacity Specifications: - Medium Porosity Fritted Disc - Pyrex Glass - Size: >= D41mm x H60 mm | 15 pieces | 3500 | 52500 | Shopping |  |  | 15
| Glass Gooch Crucible with Sintered Disc, >= 100mL capacity Specifications: - Medium Porosity Fritted Disc - Pyrex Glass - Size: >= D54mm x H60 mm | 15 pieces | 4500 | 67500 | Shopping |  |  | 15
REPAIR AND MAINTENANCE OF BUILDING
| Repair and Rehabilitation of BTFIH-Central Mindanao University Phase II Includes: - BTFIH Signages; and - Landmarks | 1 lot | 600000 | 600000 | Negotiated Procurement |  | 1
OTHER SUPPLIES AND MATERIALS
| Customized Notebooks with full fabric designs (standard size) - Fabric Design: Binakol Fabric | 100 pieces | 600 | 60000 | Shopping |  | 100
| Electric Stand Fan, 16" blade | 2 units | 3000 | 6000 | Shopping |  |  |  | 2
| Black garbage bag rolls, Size: Extra Large | 5 rolls | 200 | 1000 | Shopping |  |  |  | 5
| Monoblock Chair Color: Black Seat Width: 375 mm Seat Depth: 330 mm Front Legs Distance: 355 mm Side Legs Distance Left: 378 mm Side Legs Distance Right: 378 mm Back Legs Distance: 210 mm Back Rest Height: 779 mm Seat Back Height: 405 mm Seat Height: 376 mm | 50 pieces | 800 | 40000 | Negotiated Procurement |  |  |  | 50
| Monoblock Fitted Chair Cover Material: Spandex Color: Black | 50 pieces | 300 | 15000 | Negotiated Procurement |  |  |  | 50
| Monoblock Fitted Chair Cover Material: Spandex Color: Champagne | 50 pieces | 300 | 15000 | Negotiated Procurement |  |  |  | 50
| Monoblock Fitted Chair Cover Material: Spandex Color: White | 50 pieces | 300 | 15000 | Negotiated Procurement |  |  |  | 50
| Kitchen Utility Cart with wheels 3 layer capacity with handle Materials: Stainless Steel frame and laminated PVC board Size: Length: 83cm; Width: 45cm; Height; 96cm or equivalent Laminate Size: Length: 75cm; Width: 45cm or better Floor Height: 30cm or equivalent Fence Height: 9cm or equivalent Wheels: 4 wheels (2.5in universal wheels, 2 back wheels have brakes) | 1 piece | 10000 | 10000 | Shopping |  |  |  | 1
| Heavy Duty Flat Push Cart Capacity: 400kg to 500kg or equivalent Dimension: L90 x W60 x H87.5cm or equivalent Platform Material: Blue Metal | 2 pieces | 3000 | 6000 | Shopping |  |  |  | 2
| 10-Layer Rolling Cart Color: Clear White Material: Stainless Steel - Handle + Acrylonitrile Butadiene Styrene (ABS) Plastic Dimension: Height: 30.13cm; Width: 13.14cm; Legth: 24.8cm or equivalent | 1 piece | 5000 | 5000 | Shopping |  |  |  | 1
| Storage Bench Color: Gray Material: Wooden frame with cushion Dimension: Height: 15.5in x Width: 15.5in x Length: 36.5in or equivalent | 4 pieces | 6000 | 24000 | Shopping |  |  |  | 4
| Marbrasse Desk Organizer with File Holder 5-Tier Paper Letter Tray Organizer with Drawer and Pen Holders Mesh Desktop Storage with Magazine Holder for Office Supplies Dimensions: 13.43 x 9.8 x 4.41 inches (34.1 x 24.9 x 11.2 cm) or equivalent Material: Steel Alloy Color: Black | 5 pieces | 5000 | 25000 | Shopping |  |  |  | 5
| Cold Storage Specifications: - Min. Dimension: W700 mm x H1700 mm x D747 mm or equivalent - Gross Capacity: 15 cu.ft or equivalent - Net Capacity: 14.1 cu.ft or equivalent - Net Weight: 80kg or or equivalent - Digital Inverter Technology - No Frost, Bottom Freezer Refrigerator - Triple Foldable Shelf - With Water Dispenser - Shelf Material: Tempered Glass and Plastic Material - Interior LED Light - With door alarm - Color: Black - at least 1 year warranty Note: Indirect Cost: For Office of the Director Use | 1 unit | 50000 | 50000 | Small Value Procurement |  |  |  | 1
| Wall Mounted First Aid Kit Inclusions: - Ice Bag #6 - Gauze Bandage, 3x10 - Torniquet - Povidone 60ml - Elastic Bandage, 3x5 - Elastic Bandage, 2x5 - Gloves, 2pcs - Face Mask, 4pcs - Cotton Balls, 50's - Triangular Bandage - Alcohol 60ml - Bandage Scissor - Safety Pin, 10pcs - Micropore, 1inch - Digital Thermometer - Band Aid, 20pcs - Alcohol Pad, 10pcs - Sterile Gloves, 7.5-2pcs - Hot Bag, 500ml - Gauze Pad, 2x2-2pcs - Gauze Pad 4x4-2pcs - Tissue Forcep, 1pc | 5 sets | 5000 | 25000 | Shopping |  |  |  | 5
| 5m Tape Measure, metric and imperial | 2 pieces | 1000 | 2000 | Shopping |  | 2
| Stainless Steel Snap-off Screw Cutter Knife, 8mm blade or equivalent or better, large size | 10 pieces | 2000 | 20000 | Shopping |  | 10
| Masking Tape, 1in | 10 pieces | 150 | 1500 | Shopping |  | 10
| Masking Tape, 2in | 10 pieces | 200 | 2000 | Shopping |  | 10
| Plastic Storage Ziplock Bags, small size, 100pcs/pack | 20 packs | 400 | 8000 | Shopping |  | 20
| Plastic Storage Ziplock Bags, large size, 100pcs/pack | 20 packs | 600 | 12000 | Shopping |  | 20
| Cling Wrap, 18 inches x 500 meters or equivalent | 2 pieces | 2000 | 4000 | Shopping |  | 2
| Paper Boxes, large | 3 pieces | 400 | 1200 | Shopping |  | 3
| Water Hose, Heavy Duty PVC garden hose, color: green | 10 meters | 150 | 1500 | Shopping |  | 10
| PE Bag (Polyethylene Bag), Clear, 40x60 inches or equivalent or better | 5 packs | 1500 | 7500 | Shopping |  | 5
| Interfolded Paper Towel, 2-ply, 150pulls | 50 pieces | 300 | 15000 | Shopping |  |  |  | 50
| Disinfectant Alcohol, 70% Solution, 500ml | 30 pieces | 250 | 7500 | Shopping |  |  |  | 30
| Multi-Insect Killer, 500ml | 30 pieces | 450 | 13500 | Shopping |  |  |  | 30
| Disinfectant Spray, 510g | 30 pieces | 600 | 18000 | Shopping |  |  |  | 30
| Disposable Laboratory Face Mask, 50 pcs/box, 3-ply | 30 boxes | 200 | 6000 | Shopping |  |  |  | 30
| Haga Altimeter Specifications: - Scale: 15, 20, 25 and 30 - Chains: => 66’ L or equivalent | 1 unit | 5000 | 5000 | Shopping |  | 1
| Diameter Tape Specification. - Blade length: 2m (72in) - Blade width: 6mm (1/4 in) | 1 piece | 2500 | 2500 | Shopping |  | 1
| Heavy Duty Fiberglass Meter Tape, 50 meters | 1 piece | 2000 | 2000 | Shopping |  | 1
| Handheld GPS Specifications: - Physical Dimensions: => 8.76 X 18.30 X 3.27 cm - Touchscreen - Display Size: => 6.48 X 10.80 cm; 5´´ - Display Resolution: => 480 X 800 pixels - Weight: => 397 g. - Memory/History: => 16 GB - Color: Black | 1 unit | 40000 | 40000 | Shopping |  | 1
| Hex Allen Wrench Set (set should include range of 1.5 to 5 mm diameter) | 1 set | 700 | 700 | Shopping |  | 1
| Vacuum Oil Pump (1 gallon) | 3 pieces | 3000 | 9000 | Shopping |  | 3
| Temperature and Relative Humidity Reader Specifications: - Maximum Humidity Measurement: => 99%RH - Temperature Measurement Resolution: <= 0.1 °C, 0.1 °F - Best Humidity Measurement Accuracy: <= ±4 %RH - Humidity Measurement Resolution: <= 0.1%RH - Meter Type: Digital | 1 piece | 3000 | 3000 | Shopping |  | 1
OFFICE SUPPLIES
| Laptop Computer Specifications: - Processor: Core i5 10th Gen. or equivalent - GPU: Integrated Graphics Card UHD Graphics 620 or equivalent - Screen Size: >= 13.5" - Memory: >= 8GB DDR4 - Storage: >= 512GB SSD - OS: Windows 10 Home Inclusions: - Microsoft Office 2019 or latest version - At least one (1) year warranty on parts and services NOTE: Delivery to Bamboo R&D Center, Research Complex, Central Mindanao University, Musuan, Dologon, Maramag, Bukidnon | 1 unit | 50000 | 50000 | Shopping |  |  | 1
| Wired Headphones with Microphone Specifications Input Impedance: >= 32ohm Sensitivity (Headphone): >= 94dBV/Pa +/-3dB Frequency Response (Headset): >= 20Hz to <= 20kHz USB Port (Type A port or Adapter) Color: Black | 3 pieces | 3000 | 9000 | Shopping |  |  | 3
| Document Scanner Specifications: - 80 Sheet Automatic Document Feeder (ADF) - Scan directly to USB host; Mobile Connect App - Up to 40ppm A4 colour and mono 2 sided scan speed 300dpi - Optical Resolution: 600 dpi x 600 dpi - Duplex Scan: Colour/Black - Memory Capacity: >= 512MB - Power Source: AC: 100 to 240V, 50/60Hz - One (1) year warranty | 2 units | 30000 | 60000 | Small Value Procurement |  |  | 2
| Color Multifunction Laserjet Printer Specifications: - Functions: Print, Scan, Copy - Print Speed: Black/Color (normal): 15 ppm or better - Print Technology: Laser - Number of print cartridges: 4 (black, cyan, magenta, yellow) - Connectivity: Hi-Speed USB 2.0 port or better Inclusions: - Color Laser Printer; Introductory Laserjet Color Cartridges (Cyan, Magenta, Yellow, and Black); Installation Guide, Power Cord; USB Cable - One (1) year warranty | 2 units | 30000 | 60000 | Small Value Procurement |  |  | 2
| External and Portable Hard Drive for Windows Specifications: - Storage: >= 1TB - Color: Black | 5 pieces | 5000 | 25000 | Shopping |  |  | 3
| USB Flashdrive Specifications: - Storage: >= 64GB - Color: Black | 20 pieces | 1000 | 20000 | Shopping |  |  | 5
| Heavy Duty HDMI Cable, 15 meters - Type: Male to male jack - Voltage: >= 1.4V | 1 piece | 2000 | 2000 | Shopping |  |  | 1
| Heavy Duty HDMI Cable, 20 meters - Type: Male to male jack - Voltage: >= 1.4V | 1 piece | 2500 | 2500 | Shopping |  |  | 1
| Heavy Duty HDMI Cable, 30 meters - Type: Male to male jack - Voltage: >= 1.4V | 1 piece | 3000 | 3000 | Shopping |  |  | 1
| HDMI Splitter Dual Simultaneous Display for laptop Specifications: - Dimension: >= 24mm x 51mm x 71mm - Input Port: 1*HDMI - Output Port: 2*HDMI - Voltage: >= 5V to <= 12V - Resolution: 4K/60Hz | 1 unit | 4500 | 4500 | Shopping |  |  | 1
| Digital Time Recorder Machine Specifications: - Voltage: 220V/240V, 50/60HZ - Print Color: Black - Machine Size: >= 213 x 190 x 130 mm - Card Size: >= 86 x 188 x 0.35 mm Inclusions: - 100pcs time card - Manual and Power Cord - Key on the lid: for setting the time before usage Note: Indirect Cost - For DOST-PTRI general employee use | 2 units | 10000 | 20000 | Shopping |  |  | 2
| 001 Black Ink Refill, Epson L14150 | 20 pieces | 600 | 12000 | Shopping |  |  | 20
| 001 Yellow Ink Refill, Epson L14150 | 20 pieces | 400 | 8000 | Shopping |  |  | 20
| 001 Magenta Ink Refill, Epson L14150 | 20 pieces | 400 | 8000 | Shopping |  |  | 20
| 001 Cyan Ink Refill, Epson L14150 | 20 pieces | 400 | 8000 | Shopping |  |  | 20
| Maintenance Box for Epson L14150, T04D1 | 10 pieces | 1000 | 10000 | Shopping |  |  | 10
| Ruler, Stainless steel, 12 inches (30 cm) | 2 pieces | 250 | 500 | Shopping |  |  | 2
| Paper Tape - 2 inches | 10 pieces | 150 | 1500 | Shopping |  |  | 10
| Sticker Paper - A4 matte or glossy 105 gsm | 20 packs | 300 | 6000 | Shopping |  |  | 20
| Bond Paper, A4 Size. 80gsm | 10 boxes | 2000 | 20000 | Shopping |  |  | 10
| Bond paper, Legal Size, 80gsm | 10 boxes | 3000 | 30000 | Shopping |  |  | 10
| Pink paper, A4 Size | 5 reams | 500 | 2500 | Shopping |  |  | 5
| Sticker paper, Matte, A4 Size | 10 packs | 250 | 2500 | Shopping |  |  | 10
| Gel ink rolling ball pen, Blue, 0.4 mm pen tip | 5 boxes | 500 | 2500 | Shopping |  |  | 5
| Sign pen, Blue, 0.5 mm pen tip | 5 boxes | 1000 | 5000 | Shopping |  |  | 5
| Stapler, No. 35 | 6 pieces | 500 | 3000 | Shopping |  |  | 6
| Staple remover | 6 pieces | 300 | 1800 | Shopping |  |  | 6
| Staple wire, No. 35, 26/6 | 10 boxes | 100 | 1000 | Shopping |  |  | 10
| Scissors, Heavy Duty Stainless Steel | 6 pieces | 300 | 1800 | Shopping |  |  | 6
| Sticky notes, Color: Pink, 3x3in | 20 pieces | 50 | 1000 | Shopping |  |  | 20
| Sticky notes Index Tab, multi-color | 20 pieces | 60 | 1200 | Shopping |  |  | 20
| Transparent Plastic ID Holder with Zip Lock, Horizontal, 100pcs/pack | 1 pack | 500 | 500 | Shopping |  |  | 1
| ID Clip Holder, Metal, 100pcs/pack | 1 pack | 600 | 600 | Shopping |  |  | 1
OTHER PROFESSIONAL SERVICES
| Yarn Hairiness ASTM D5647 | 7 samples | 1095 | 7665 | Agency-to-agency Procurement |  |  | 7
| Yarn Evenness ASTM D1425 | 7 samples | 1095 | 7665 | Agency-to-agency Procurement |  |  | 7
| Yarn Count ASTM D1059 | 7 samples | 580 | 4060 | Agency-to-agency Procurement |  |  | 7
| Fiber Composition AATCC TM 20/Point counting | 7 samples | 1860 | 13020 | Agency-to-agency Procurement |  |  | 7
| Yarn Twist ASTM D1423 | 7 samples | 760 | 5320 | Agency-to-agency Procurement |  |  | 7
| Worksheet including raw data | 35 | 60 | 2100 | Agency-to-agency Procurement |  |  | 35
| Worksheet copy of 14 samples of Fiber Fineness (ASTM D1577) | 1 lot | 60 | 1000 | Agency-to-agency Procurement |  |  | 1
| Worksheet copy of 35 samples (Lyocell/Bamboo Blended Yarns) | 1 lot | 60 | 2100 | Agency-to-agency Procurement |  |  | 1
Office Equipment
Laboratory Equipment
2499130
TOTAL BUDGET:
+ 10% Provision for Inflation |  | 0.1
+ 10% Contingency |  | 0.1
TOTAL ESTIMATED BUDGET: |  | 0.2
NOTE: Technical Specifications for each Item/Project being proposed shall be submitted as part of the PPMP
Prepared by: |  | Reviewed by: | [5 empty] | Recommending Approval: | [7 empty] | Approved by:
MARIE ANTONETTE V. BERCES |  | MARILOU G. AGUSTIN | [5 empty] | MERLITA R. ODI | [7 empty] | JULIUS L. LEAÑO JR., Ph.D.
Project Leader, Science Research Specialist I |  | Head, Property, Procurement and General Services Section | [5 empty] | Head, Budget and Treasury Section | [7 empty] | Director IV
Date: ______________________ |  | Date: ______________________ | [5 empty] | Date: ______________________ | [7 empty] | Date: ______________________